## 1. Horticulture Farmer 1-Summa
Reefer Replacement & Cold Storage | [5 empty] | Summary
Number of Old Refrigerated Containers |  | Refrigerant Average Annual Leakage of Client's Reefer Containers (Grams) Over 5 Years |  | Refrigerant Carbon Emission (Tonnes) of Client's Reefer Containers Over 5 Years |  | The chart illustrates the carbon emissions associated with different stages of post-harvest processes over five years. Post-harvest loss accounts for the highest emissions at 1,422 CO₂ tonnes, followed closely by cold rooms on the national electricity grid at 1,377 CO₂ tonnes. In contrast, client's old reefers contribute significantly less at 16 CO₂ tonnes. After implementing cold room solutions, post-harvest loss emissions drop to 427 CO₂ tonnes, while emissions from client's old reefers after cold room installation are completely eliminated (0 CO₂ tonnes). Furthermore, using a solar + battery-powered cold room (off-grid) results in zero carbon emissions, highlighting its environmental benefits.
| 4.5 |  | 11340 |  | 16.2162
Cold Room Intervention
Cold Room Size (Square Meters) |  | Refrigerant Average Annual Leakage Savings In Percentage After Cold Room Intervention |  | Refrigerant Carbon Emission Savings (Tonnes) After Cold Room Intervention Over 5 Years
| 120 |  | 100% |  | 16.2162
|  | Electricity Consumption on National Grid (KW) Over 5 Years |  | Cold Room Carbon Emission (Tonnes) Over 5 Years
Cold Room Size (Square Meters)
| 120 |  | 2271360 |  | 1377.0586
Solar + Battery Intervention
Cold Room Size (Square Meters) |  | Carbon Emission Savings in Percentage after Solar + Battery Intervention |  | Carbon Emission Savings (Tonnes) Over 5 Years After Solar + Battery Intervention
| 120 |  | 100% |  | 1377.0586
Post Harvest Food Loss
Horticulture Produce (Tonnes) Per Year |  | Post Harvest Loss In Percentage |  | Carbon Emission of Client's Horticulture Post Harvest Loss Over 5 Years
| 600 |  | 50% |  | 1421.9799
Cold Room Intervention
Horticulure Produce (Tonnes) Per Year |  | Post Harvest Loss Savings In Percentage After Cold Room Intervention |  | Carbon Emission Savings (Tonnes) of Client's Horticulture Post Harvest Loss Over 5 Years
| 600 |  | 35% |  | 995.3859
Note on P1: @george.antwi@freezelink.co a) always label your X and Y axis. You can go ahead and make the updates. b) consider how insightful it is to have a graph with only one bar chart. c) make your graph headers as concise as possible -try and fit everything onto one line. cc: @Abraham.Tomety@freezelink.co _Assigned to george.antwi@freezelink.co_ -Owusu Akoto

## 2. Horticulture Farmer 2-Summa
Cold Storage | [5 empty] | Summary
Cold Room Size (Square Meters) |  | Electricity Consumption on National Grid (KW) Over 5 Years |  | Cold Room Carbon Emission (Tonnes) Over 5 Years
| 40 |  | 863441.8605 |  | 523.4793
Solar + Battery Intervention
Cold Room Size (Square Meters) |  | Carbon Emission Savings in Percentage after Solar + Battery Intervention |  | Carbon Emission Savings (Tonnes) Over 5 Years After Solar + Battery Intervention
| 40 |  | 100% |  | 523.4793
Post Harvest Food Loss
Horticulture Produce (Tonnes) Per Year |  | Post Harvest Loss In Percentage |  | Carbon Emission of Client's Horticulture Post Harvest Loss Over 5 Years
| 200 |  | 50% |  | 473.9933
Cold Room Intervention
Horticulure Produce (Tonnes) Per Year |  | Post Harvest Loss Savings In Percentage After Cold Room Intervention |  | Carbon Emission Savings (Tonnes) of Client's Horticulture Post Harvest Loss Over 5 Years
| 200 |  | 35% |  | 331.7953

## 3. Horticulture Farmer 3-Summa
Reefer Replacement & Cold Storage
Number of Old Refrigerated Containers |  | Refrigerant Average Annual Leakage of Client's Reefer Containers (Grams) Over 5 Years |  | Refrigerant Carbon Emission (Tonnes) of Client's Reefer Containers Over 5 Years
| 1 |  | 2520 |  | 3.6036
Cold Room Intervention
Cold Room Size (Square Meters) |  | Refrigerant Average Annual Leakage Savings In Percentage After Cold Room Intervention |  | Refrigerant Carbon Emission Savings (Tonnes) After Cold Room Intervention Over 5 Years
| 40 |  | 100% |  | 3.6036
Cold Room Size (Square Meters) |  | Electricity Consumption on National Grid (KW) Over 5 Years |  | Cold Room Carbon Emission (Tonnes) Over 5 Years
| 40 |  | 863441.8605 |  | 523.4793
Solar + Battery Intervention
Cold Room Size (Square Meters) |  | Carbon Emission Savings in Percentage after Solar + Battery Intervention |  | Carbon Emission Savings (Tonnes) Over 5 Years After Solar + Battery Intervention
| 40 |  | 100% |  | 523.4793
Post Harvest Food Loss
Horticulture Produce (Tonnes) Per Year |  | Post Harvest Loss In Percentage |  | Carbon Emission of Client's Horticulture Post Harvest Loss Over 5 Years
| 200 |  | 50% |  | 473.9933
Cold Room Intervention
Horticulure Produce (Tonnes) Per Year |  | Post Harvest Loss Savings In Percentage After Cold Room Intervention |  | Carbon Emission Savings (Tonnes) of Client's Horticulture Post Harvest Loss Over 5 Years
| 200 |  | 35% |  | 331.7953

## 4. Horticulture Farmer 1-Assum
Storage (Cold Room) Assumption |  |  |  | Carbon Emission Savings (Tonnes) Over 5 Years After Solar + Battery Intervention
Item | Value | Unit | Source
Proposed Cold Room Size for Client | 120 | sq. m. |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Cold Room Temperature for Fruit and Vegetables | 0 - 5 | ° C | Cold Room Energy Consumption | Horticulture Farmer 1 | 275.4117 | 275.4117 | 275.4117 | 275.4117 | 275.4117 | 1377.0586
Hourly Electricity Consumption of Cold Room Size | 52 | kW/h | Cold Room Energy Consumption
Cold Room Operating Hours Per Day | 24 | hrs
Number of Days Per Week of Operating Cold Room | 7 | days
Electricity Consumption Per Day of Client's Cold Room | 1248 | kW/D |  |  | Post Harvest Loss | 1421.9799
Electricity Consumption Per Year of Client's Cold Room | 454272 | kW/Yr |  |  | Cold Room On National Electricity Grid | 1377.0586
Ghana's Carbon Emisson Factor for Electricity | 0.55 | kgCo2/kWh | Ghana Grid Mix |  | Client's Old Reefers | 16.2162
Convertion Rate of Kilo gram to Tonnes | 0.0011023 | kg-Tonne |  |  | Post Harvest Loss After Cold Room | 426.594
Carbon Emission (CO2e) Per Year of Client's Cold Room | 275.4117 | Tonnes/ Yr |  |  | Client's Old Reefers After Cold Room | 0
Carbon Emission (CO2e) Savings in Percentage after Solar + Battery Intervention | 100% |  |  |  | Cold Room After Solar + Battery (Off-Grid) | 0
Carbon Emission (CO2e) Savings Per Year After Solar + Battery Intervention | 275.4117 | Tonnes/Yr
Electricity Consumption of Client's Cold Room Over 5 Years | 2271360 | kW/ 5 Yrs
Carbon Emission (CO2e) Over 5 Years of Client's Cold Room Size | 1377.0586 | Tonnes/5 Yrs
Storage (Reefer Container) Assumption |  |  |  | Refrigerant Carbon Emission (Tonnes) Savings After Cold Room Intervention Over 5 Years
Item | Value | Unit | Source
Number of Reefer Containers the Client has Currently | 4.5 |  |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Most widely Used Refrigerant in Reefer Containers | HFC (R-134a) |  | Refrigerant in Reefer | Horticulture Farmer 1 | 3.2432 | 3.2432 | 3.2432 | 3.2432 | 3.2432 | 16.2162
Global Warming Potential (GWP) of HFC (R-134a) | 1430 | GWP | Refrigerant in Reefer
Refrigerant Charge of HFC (R-134a) | 1400 | Grams | Refrigerant Charge
End-of-life Average Annual Leakage of Refrigerant Charge | 12% |  | Average Annual Leakage
Number of Times A Refrigerant is Charged in a Year | 3 | per yr
Refrigerant (HFC R-134a) Leakage per Reefer per Year | 504 | Grams/Yr
Refrigerant (HFC R-134a) Leakage per Year of Client's Reefers | 2268 | Grams CO₂e/Yr
Refrigerant (HFC R-134a) Leakage of Client's Reefers Over 5 Years | 11340 | Grams/ 5 Yrs
Conversion to CO₂e equivalent emission Per Year using GWP | 3243240 | Grams CO₂e/Yr
Conversion to CO₂e equivalent emission Over 5 Years using GWP | 16216200 | Grams CO₂e/5 Yrs
Conversion of CO₂e equivalent emission In Grams to Tonnes Per Year | 3.2432 | Tonnes/Yr
Conversion of CO₂e equivalent emission In Grams to Tonnes Over 5 Years | 16.2162 | Tonnes/5 Yrs
Refrigerant Average Annual Leakage Savings In Percentage After Cold Room Intervention | 100%
Refrigerant Carbon Emission (CO2e) Savings After Cold Room Intervention Per Year | 3.2432 | Tonnes/Yr
Post Harvest Food Loss Assumption |  |  |  | Horticulture Post-Harvest Loss Carbon Emission (Tonnes) Savings After Cold Room Intervention Over 5 Years
Item | Value | Unit | Source
Client's Harvest Cycle Per Year | 5 | Per Yr |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Horticulture Produce of Client's Export Per Harvest Cycle | 120 | Tonnes |  | Horticulture Farmer 1 | 199.0772 | 199.0772 | 199.0772 | 199.0772 | 199.0772 | 995.3859
Horticulture Produce of Client's Export Per Year | 600 | Tonnes/ Yr
Horticulture Post-Harvest Loss Percentage In Ghana | 50% |  | Post-harvest Losses of Agricultural Produce
Post Harvest Loss Savings In Percentage After Cold Room Intervention | 35%
Estimated Horticulture Post Harvest Loss of Client Per Year | 300 | Tonnes/ Yr
Carbon Emission (CO2e) tonne Per 1 metric ton of Food Waste | 0.86 | Tonnes | Food Waste Methane Report
Conversion Rate of Tonne to Metric Ton | 1.1023
Estimated Horticulture Post Harvest Loss of Client Per Year | 330.693 | Metric Tons/ Yr
Carbon Emission (CO2e) of Client's Horticulture Post Harvest Loss Per Year | 284.396 | Tonnes/ Yr
Carbon Emission (CO2e) Savings of Client's Horticulture Post Harvest Loss Per Year | 199.0772 | Tonnes/ Yr
Carbon Emission (CO2e) of Client's Horticulture Post Harvest Loss Over 5 Years | 1421.9799 | Tonnes/ Yr
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  |  |  | Grand Total | 477.7321 | 477.7321 | 477.7321 | 477.7321 | 477.7321 | 2388.6607

## 5. Horticulture Farmer 2-Assum
Storage (Cold Room) Assumption |  |  |  | Carbon Emission Savings (Tonnes) Over 5 Years After Solar + Battery Intervention
Item | Value | Unit | Source
Proposed Cold Room Size for Client | 40 | sq. m. |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Cold Room Temperature for Fruit and Vegetables | 0 - 5 | ° C | Cold Room Energy Consumption | Horticulture Farmer 2 | 104.6959 | 104.6959 | 104.6959 | 104.6959 | 104.6959 | 523.4793
Cold Room Size | 43 | sq. m. | Cold Room Energy Consumption
Hourly Electricity Consumption of Cold Room Size | 21.25 | kW/h | Cold Room Energy Consumption
Cold Room Operating Hours Per Day | 24 | hrs
Number of Days Per Week of Operating Cold Room | 7 | days |  |  |  |  | Post Harvest Loss | 473.9933
Electricity Consumption Per Hour of Client's Cold Room | 19.7674 | kW/h |  |  |  |  | Cold Room On National Grid | 523.4793
Electricity Consumption Per Day of Client's Cold Room | 474.4186 | kW/D |  |  |  |  | Post Harvest Loss After Cold Room | 142.198
Electricity Consumption Per Year of Client's Cold Room | 172688.3721 | kW/Yr |  |  |  |  | Cold Room After Solar + Battery (Off-Grid) | 0
Ghana's Carbon Emisson Factor for Electricity | 0.55 | kgCo2/kWh | Ghana Grid Mix
Convertion Rate of Kilo gram to Tonnes | 0.0011023 | kg-Tonne
Carbon Emission (CO2e) Per Year of Client's Cold Room | 104.6959 | Tonnes/ Yr
Carbon Emission (CO2e) Savings in Percentage after Solar + Battery Intervention | 100%
Carbon Emission (CO2e) Savings Per Year After Solar + Battery Intervention | 104.6959 | Tonnes/Yr
Electricity Consumption of Client's Cold Room Over 5 Years | 863441.8605 | kW/ 5 Yrs
Carbon Emission (CO2e) Over 5 Years of Client's Cold Room Size | 523.4793 | Tonnes/5 Yrs
Post Harvest Food Loss Assumption |  |  |  | Horticulture Post-Harvest Loss Carbon Emission (Tonnes) Savings After Cold Room Intervention Over 5 Years
Item | Value | Unit | Source
Client's Harvest Cycle Per Year | 5 | Per Yr |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Horticulture Produce of Client's Export Per Harvest Cycle | 40 | Tonnes |  | Horticulture Farmer 2 | 66.3591 | 66.3591 | 66.3591 | 66.3591 | 66.3591 | 331.7953
Horticulture Produce of Client's Export Per Year | 200 | Tonnes/ Yr
Horticulture Post-Harvest Loss Percentage In Ghana | 50%
Post Harvest Loss Savings In Percentage After Cold Room Intervention | 35%
Estimated Horticulture Post Harvest Loss of Client Per Year | 100 | Tonnes/ Yr | Post-harvest Losses of Agricultural Produce
Carbon Emission (CO2e) tonne Per 1 metric ton of Food Waste | 0.86 | Tonnes
Conversion Rate of Tonne to Metric Ton | 1.1023
Estimated Horticulture Post Harvest Loss of Client Per Year | 110.231 | Metric Tons/ Yr | Food Waste Methane Report
Carbon Emission (CO2e) of Client's Horticulture Post Harvest Loss Per Year | 94.7987 | Tonnes/ Yr
Carbon Emission (CO2e) Savings of Client's Horticulture Post Harvest Loss Per Year | 66.3591 | Tonnes/ Yr
Carbon Emission (CO2e) of Client's Horticulture Post Harvest Loss Over 5 Years | 473.9933 | Tonnes/ Yr
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  |  |  | Grand Total | 171.0549 | 171.0549 | 171.0549 | 171.0549 | 171.0549 | 855.2746

## 6. Horticulture Farmer 3-Assum
Storage (Reefer Container) Assumption |  |  |  | Refrigerant Carbon Emission (Tonnes) Savings After Cold Room Intervention Over 5 Years
Item | Value | Unit | Source
Number of Reefer Containers the Client has Currently | 1 |  |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Most widely Used Refrigerant in Reefer Containers | HFC (R-134a) |  | Refrigerant in Reefer | Horticulture Farmer 3 | 0.72072 | 0.72072 | 0.72072 | 0.72072 | 0.72072 | 3.6036
Global Warming Potential (GWP) of HFC (R-134a) | 1430 | GWP | Refrigerant in Reefer
Refrigerant Charge of HFC (R-134a) | 1400 | Grams | Refrigerant Charge
End-of-life Average Annual Leakage of Refrigerant Charge | 12% |  | Average Annual Leakage
Number of Times A Refrigerant is Charged in a Year | 3 | per yr
Refrigerant (HFC R-134a) Leakage per Reefer per Year | 504 | Grams/Yr |  |  |  |  | Post Harvest Loss | 473.9933
Refrigerant (HFC R-134a) Leakage per Year of Client's Reefers | 504 | Grams CO₂e/Yr |  |  |  |  | Cold Room On National Grid | 523.4793
Refrigerant (HFC R-134a) Leakage of Client's Reefers Over 5 Years | 2520 | Grams/ 5 Yrs |  |  |  |  | Client's Old Reefers | 3.6036
Conversion to CO₂e equivalent emission Per Year using GWP | 720720 | Grams CO₂e/Yr |  |  |  |  | Post Harvest Loss After Cold Room | 142.198
Conversion to CO₂e equivalent emission Over 5 Years using GWP | 3603600 | Grams CO₂e/5 Yrs |  |  |  |  | Client's Old Reefers After Cold Room | 0
Conversion of CO₂e equivalent emission In Grams to Tonnes Per Year | 0.72072 | Tonnes/Yr |  |  |  |  | Cold Room After Solar + Battery (Off-Grid) | 0
Conversion of CO₂e equivalent emission In Grams to Tonnes Over 5 Years | 3.6036 | Tonnes/5 Yrs
Refrigerant Average Annual Leakage Savings In Percentage After Cold Room Intervention | 100%
Refrigerant Carbon Emission (CO2e) Savings After Cold Room Intervention Per Year | 0.72072 | Tonnes/Yr
Storage (Cold Room) Assumption |  |  |  | Carbon Emission Savings (Tonnes) Over 5 Years After Solar + Battery Intervention
Item | Value | Unit | Source
Proposed Cold Room Size for Client | 40 | sq. m. |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Cold Room Temperature for Fruit and Vegetables | 0 - 5 | ° C | Cold Room Energy Consumption | Horticulture Farmer 3 | 104.6959 | 104.6959 | 104.6959 | 104.6959 | 104.6959 | 523.4793
Cold Room Size | 43 | sq. m. | Cold Room Energy Consumption
Hourly Electricity Consumption of Cold Room Size | 21.25 | kW/h | Cold Room Energy Consumption
Cold Room Operating Hours Per Day | 24 | hrs
Number of Days Per Week of Operating Cold Room | 7 | days
Electricity Consumption Per Hour of Client's Cold Room | 19.7674 | kW/h
Electricity Consumption Per Day of Client's Cold Room | 474.4186 | kW/D
Electricity Consumption Per Year of Client's Cold Room | 172688.3721 | kW/Yr
Ghana's Carbon Emisson Factor for Electricity | 0.55 | kgCo2/kWh | Ghana Grid Mix
Convertion Rate of Kilo gram to Tonnes | 0.0011023 | kg-Tonne
Carbon Emission (CO2e) Per Year of Client's Cold Room | 104.6959 | Tonnes/ Yr
Carbon Emission (CO2e) Savings in Percentage after Solar + Battery Intervention | 100%
Carbon Emission (CO2e) Savings Per Year After Solar + Battery Intervention | 104.6959 | Tonnes/Yr
Electricity Consumption of Client's Cold Room Over 5 Years | 863441.8605 | kW/ 5 Yrs
Carbon Emission (CO2e) Over 5 Years of Client's Cold Room Size | 523.4793 | Tonnes/5 Yrs
Post Harvest Food Loss Assumption |  |  |  | Horticulture Post-Harvest Loss Carbon Emission (Tonnes) Savings After Cold Room Intervention Over 5 Years
Item | Value | Unit | Source
Client's Harvest Cycle Per Year | 5 | Per Yr |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Horticulture Produce of Client's Export Per Harvest Cycle | 40 | Tonnes |  | Horticulture Farmer 3 | 66.3591 | 66.3591 | 66.3591 | 66.3591 | 66.3591 | 331.7953
Horticulture Produce of Client's Export Per Year | 200 | Tonnes/ Yr
Horticulture Post-Harvest Loss Percentage In Ghana | 50%
Post Harvest Loss Savings In Percentage After Cold Room Intervention | 35%
Estimated Horticulture Post Harvest Loss of Client Per Year | 100 | Tonnes/ Yr | Post-harvest Losses of Agricultural Produce
Carbon Emission (CO2e) tonne Per 1 metric ton of Food Waste | 0.86 | Tonnes
Conversion Rate of Tonne to Metric Ton | 1.1023
Estimated Horticulture Post Harvest Loss of Client Per Year | 110.231 | Metric Tons/ Yr | Food Waste Methane Report
Carbon Emission (CO2e) of Client's Horticulture Post Harvest Loss Per Year | 94.7987 | Tonnes/ Yr
Carbon Emission (CO2e) Savings of Client's Horticulture Post Harvest Loss Per Year | 66.3591 | Tonnes/ Yr
Carbon Emission (CO2e) of Client's Horticulture Post Harvest Loss Over 5 Years | 473.9933 | Tonnes/ Yr
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  |  |  | Grand Total | 171.7756 | 171.7756 | 171.7756 | 171.7756 | 171.7756 | 858.8782