## 1. Carbon Emission-Summary
Solar Cooling Unit & Dehumidifier | [5 empty] | Summary
No. of Haulage Truck (40ft refrigerated reefer trailer) |  | Diesel Consumption of Hualage Truck (Litres) Over 5 Years |  | Diesel Carbon Emission (Tonnes) of Haulage Truck Over 5 Years |  | A fleet of 15 refrigerated haulage trucks operates 12 hours per day, 6 days a week, for 312 days per year. Each truck's cooling unit (Thermo King T800) consumes 57 litres of diesel per hour, leading to a total annual fuel consumption of 213,408 litres and 1,067,040 litres over 5 years. By implementing Solar Cooling Technology, the fleet achieves an annual fuel savings of 118,800 litres, reducing diesel consumption by 55.67%. Over 5 years, this results in a total fuel savings of 594,000 litres and a 1,728-tonne reduction in CO₂ emissions. Additionally, Dehumidifier Technology saves 46,612.5 litres of diesel per year, contributing to a 21.84% reduction in fuel use. Over 5 years, this leads to a total fuel savings of 233,062.5 litres and a 678-tonne reduction in CO₂ emissions. Overall, adopting these technologies over 5 years results in a combined fuel savings of 827,062.5 litres and a 2,406-tonne reduction in CO₂ emissions, significantly lowering operational costs and promoting sustainability and environmental responsibility.
| 15 |  | 1067040 |  | 3104.1328
Solar Cooling Unit Intervention
No. of Haulage Truck (40ft refrigerated reefer trailer) |  | Diesel Annual Consumption Savings In Percentage After Solar Cooling Unit Intervention |  | Diesel Carbon Emission Savings (Tonnes) of Haulage Truck Over 5 Years
| 15 |  | 55.67% |  | 1728.0092
Dehumidifier Intervention
No. of Haulage Truck (40ft refrigerated reefer trailer) |  | Diesel Annual Consumption Savings In Percentage After Dehumidifer Intervention |  | Diesel Carbon Emission Savings (Tonnes) of Haulage Truck Over 5 Years
| 15 |  | 21.84% |  | 678.0036

## 2. Fuel Cost-Summary
Fuel Cost Savings Over 5 years
Haulage Truck (40ft refrigerated reefer trailer)
Solar Cooling Unit
| Fuel Saved Per Year (Litres) |  | 7920
FUEL COST SAVINGS OVER 5 YEARS
|  | Amount: | 673200
Haulage Truck (40ft refrigerated reefer trailer)
Dehumidifer Technology
| Fuel Saved Per Year (Litres) |  | 3107.5
FUEL COST SAVINGS OVER 5 YEARS
|  | Amount: | 264137.5
Summary
This chart shows how much money you can save by using a solar-powered cooling system with dehumidifier technology instead of a regular fuel-powered system for a 40ft refrigerated truck over five years. At the start (Year 0), the solar-powered system costs more to set up—GHS 413,881 for the cooling unit and GHS 49,343 for the dehumidifier. But by Year 3, the money saved on fuel (GHS 562,403) becomes more than what it cost to buy the solar system in the first place. This is called the payback point—the moment when you’ve saved as much as you spent. After that, the savings really add up! By Year 5, you’ve saved a total of GHS 937,338 with the solar-powered system. Solar systems save so much because they don’t need expensive fuel and require less upkeep.

## 3. Fuel Cost-Assumption
Assumption |  | unit |  |  | Notes
Number of Hours per day | 12 | hrs |  | A Thermo King T800 cooling unit operates for 12 hours per day, 6 days a week, over 312 days annually. Under standard operating conditions, it consumes 3.8 liters of fuel per hour, resulting in a daily fuel consumption of 45.6 liters and an annual fuel consumption of 14,227.2 liters. This usage incurs a significant annual fuel cost of GHS 241,862.40. When the Thermo King T800 is upgraded with the Solar Cooling Unit, the operational efficiency of the system is significantly enhanced. Despite maintaining the same operating schedule of 12 hours per day, 6 days a week, over 312 days annually, the Solar Cooling Unit achieves daily fuel savings of 25.4 liters. This translates to an impressive annual fuel savings of 7,920 liters, representing a 55.67% reduction in fuel consumption. The cost savings are equally notable, with a daily reduction in fuel costs of GHS 431.54 and an annual savings of GHS 134,640. Although the cost of acquiring a Solar Cooling Unit is GHS 413,881.25, the substantial fuel and cost savings make it a compelling investment over the long term. Alternatively, fitting the Thermo King T800 with the Dehumidifier Technology offers another route to improved efficiency. Operating under the same conditions, the Dehumidifier Technology delivers daily fuel savings of 10 liters, amounting to annual savings of 3,107.4 liters. This corresponds to a 21.84% reduction in fuel consumption. In financial terms, the Dehumidifier Technology achieves daily fuel cost savings of GHS 169.31 and an annual savings of GHS 52,825.80. The cost of acquiring a Dehumidifier Technology is relatively modest at GHS 49,342.88, making it an attractive, cost-effective solution for reducing fuel consumption and costs.
Number of days per week | 6 | days
Number of days per annum | 312 | days
Fuel Consumption of cooling unit Per Hour (Thermo King T800) | 3.8 | litres per hr
Fuel Consumption Per Annum of cooling unit(Thermo King T800) | 14227.2 | litres per year
Fuel Consumption Per Day of cooling unit(Thermo King T800) | 45.6 | litres per day
Fuel Savings Per Annum after using Solar Cooling Unit | 7920 | litres per year
Daily Fuel Savings after using Solar Cooling Unit | 25.3846 | litres per day
Percentage of Fuel Savings Per Annum after using Solar Cooling Unit | 55.67%
Diesel Price | 17
Cost of Fuel Consumption Per Annum of cooling unit(Thermo King T800) | 241862.4
Cost Saved on Fuel Per Annum after using Solar Cooling Unit | 134640
Cost Saved on Fuel Per Day after using Solar Cooling Unit | 431.5385
Capital Cost for Solar Cooling Unit | 413881.25
Fuel Savings Per Annum after using Dehumidifier Technology | 3107.5 | litres per year
Daily Fuel Savings after using Dehumidifier Technology | 9.9599 | litres per day
Percentage of Fuel Savings Per Annum after using Dehumidifier Technology | 21.84%
Cost Saved on Fuel Per Annum after using Dehumidifier Technology | 52827.5
Cost Saved on Fuel Per Day after using Dehumidifier Technology | 169.3189
Capital Cost for Dehumidifier Technology | 49342.88
Year | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Capital Cost for Solar Cooling Unit | 49342.88 Year 0: 413881.25
Capital Cost for Dehumidifier Technology | 49342.88 Year 0: 49342.88
Cost of Fuel Consumption Per Annum of cooling unit |  | 187467.5 | 374935 | 562402.5 | 749870 | 937337.5

## 4. Carbon Emission- Assumption
Assumption |  | unit | source | Diesel Carbon Emission Savings (Tonnes) Over 5 Years After Solar Cooling Unit Intervention
Number of Haulage Truck (40ft refrigerated reefer trailer) | 15
Number of Hours per day | 12 | hrs |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Number of days per week | 6 | days |  | Hualage Truck | 345.6018 | 345.6018 | 345.6018 | 345.6018 | 345.6018 | 1728.0092
Number of days per annum | 312 | days
Fuel Consumption of cooling unit Per Hour (Thermo King T800) | 57 | litres per hr
Fuel Consumption Per Day of cooling unit(Thermo King T800) | 684 | litres per day
Fuel Consumption Per Year of cooling unit(Thermo King T800) | 213408 | litres per year |  |  |  | Diesel | 3104.1328
Fuel Savings Per Year after using Solar Cooling Unit | 118800 | litres per year |  |  |  | Dehumidifier | 2426.1292
Daily Fuel Savings after using Solar Cooling Unit | 380.7692 | litres per day |  |  |  | Solar Cooling Unit | 1376.1237
Percentage of Fuel Savings Per Year after using Solar Cooling Unit | 55.67%
Carbon Emission per 1 litre of Diesel | 2.6391 | kgCo2/Litre | Diesel Carbon Emission
Convertion Rate of Kilo gram to Tonnes | 0.0011023 | kg-tonne
Diesel Carbon Emission (Tonne) Per Year of Cooling unit(Thermo King T800) | 620.8266 | Co2 Tonnes/ year
Fuel Consumption Over 5 Years of cooling unit(Thermo King T800) | 1067040 | litres over 5 years
Diesel Carbon Emission (Tonne) Over 5 Years of Cooling unit(Thermo King T800) | 3104.1328 | Co2 Tonnes/ 5 years
Diesel Carbon Emission (Tonne) Savings Per Year after using Solar Cooling Unit | 345.6018 | Co2 Tonnes/ year
Fuel Savings Per Annum after using Dehumidifier Technology | 46612.5 | litres per year |  | Diesel Carbon Emission Savings (Tonnes) Over 5 Years After Dehumidifier Intervention
Daily Fuel Savings after using Dehumidifier Technology | 149.399 | litres per day
Percentage of Fuel Savings Per Annum after using Dehumidifier Technology | 21.84% |  |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
Diesel Carbon Emission (Tonne) Savings Per Year after using Dehumidifier Technology | 135.6007 | Co2 Tonnes/ year |  | Hualage Truck | 135.6007 | 135.6007 | 135.6007 | 135.6007 | 135.6007 | 678.0036
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  |  |  | Grand Total | 481.2025 | 481.2025 | 481.2025 | 481.2025 | 481.2025 | 2406.0127